SPECIFICATIONS FOR

HELICAL TIEBACK ANCHORS

<EDIT: YOUR JOB NAME HERE>

1. GENERAL

  - Purpose of Specification

The purpose of this specification is to detail the furnishing of all materials, tools, equipment, labor supervision, and installation techniques necessary to install helical tieback anchors as detailed on the drawings, including connection details.  This shall include provisions for load testing that may be part of the scope of work.

  - Scope of Work

This work consists of furnishing all necessary supervision, labor, tools, materials, and equipment to perform all work necessary to install the helical tieback anchors, at <PROJECT NAME>, located in the city of <ANYTOWN, ANY STATE> per the specifications described herein, and as shown on the drawings.  The Contractor shall install a helical anchor that will develop the load capacities as detailed on the drawings.  This may also include provisions for load testing to verify tieback capacity and deflection, if part of the scope of work.

  - Qualifications of the Helical Tieback Anchor Contractor

The helical tieback anchor Contractor shall be experienced in installation of helical tieback anchors and shall furnish all materials, labor, and supervision to perform the work.  The Contractor shall provide names of on-site personnel materially involved with the work, including those who carry documented certification of helical anchor training.  At a minimum, these personnel shall include foreman, machine operator, and project engineer/manager.

  - Definitions

A partial list follows.  The Owner may wish to add other specific, project-related items.

Alignment Load (AL):	A nominal load applied to a ground anchor during testing to keep the testing equipment correctly positioned and remove any slack in the reaction system.  Alignment load is typically 10%-15% DL.

Creep:	The movement that occurs during the creep test of a ground anchor under a constant load.

Design Load (DL):	Maximum anticipated service load applied to the ground anchor.  Also known as the working load (WL).

Elastic Movement:	The recoverable movement measured during a ground anchor test resulting from the elastic elongation of the tieback material or soils.

Free Length:	Length of plain extension acting as a tendon, which is free to elongate elastically.  A.k.a. un-bonded length or stressing length.  Helix plates shall not be located in free length section of tieback.  Minimum free length shall be specified on a project specific basis.

Ground Anchor:	a.k.a. tieback or anchor, used to transfer tensile loads to soil.  Ground anchors consist of central steel shaft, helix bearing plates, coatings, corrosion protection, connection means, etc.

Helical Extension:	Helical tieback anchor component installed immediately following the lead section, if required.  This component consists of one or more helix plates welded to a central steel shaft of finite length.

Helix Plate:	Generally round steel plate formed into a ramped spiral.  The helical shape provides the means to install the helical tieback anchor, plus the plate transfers load to soil in end-bearing.  Helix plates are available in various diameters and thicknesses.

Lead Section:	The first helical tieback anchor component installed into the soil, consisting of single or multiple helix plates welded to a central steel shaft.  Helix plates provide end-bearing capacity.

Lock-off Load:	The stressing force in ground anchor after load has been transferred from the hydraulic jack to the bearing plate and nut.  A.k.a. the transfer load.

Net Settlement:	The non-elastic (non-recoverable) movement of a ground anchor measured during load testing.

Performance Test:	Similar to a Proof Test except a cyclic loading method is used to analyze total, elastic, and net movement of the ground anchor.  Often used for pre-contract or pre-production load tests, in addition to a specified percentage of production anchors.

Plain Extension:	Central steel shaft of finite length without helix plates.  It is installed following the installation of the lead section or helical extension (if used).  The units are connected with integral couplings and bolts.  Plain extensions are used to extend the helix plates beyond the specified minimum free length and into competent load bearing stratum.

Proof Test:	Incremental loading of a ground anchor, holding for a period of time, and recording the total movement at each load increment.

Safety Factor:	The ratio of the ultimate capacity to the working or design load of the ground anchor.

Helical Tieback Anchor:	A helical tieback anchor is a bearing type foundation consisting of a lead section, helical extension (if so required by site conditions), plain extension section(s), and a wall connection.

Test Load (TL):	The maximum load applied to the ground anchor during testing.

Thread Bar Adapter:	Section of central steel shaft used to connect the ground anchor to the wall face via a high tensile strength pre-stressing thread bar.

Working Load (WL):	Equivalent term for Design Load.

Ultimate Capacity (UC):	Limit state based on the structural and/or geotechnical capacity of the ground anchor defined as the point at which no additional capacity can be justified.

  - Quality Assurance

    - The Contractor shall employ an adequate number of skilled workers who are experienced in the necessary crafts and who are familiar with the specified requirements and methods needed for proper performance of the work of this specification.

    - All helical tieback anchors shall be installed in the presence of a designated representative of the Owner unless said representative informs the Contractor otherwise.  The designated representative shall have the right to access to any and all field installation records and test reports.

    - Helical tieback anchors components as specified therein shall be manufactured by a facility whose quality systems comply with ISO (International Organization of Standards) 9001 requirements.  Certificates of Registration denoting ISO Standards Number shall be presented upon request to the Owner or their representative.

    - Individual helical tieback anchors shall be designed so that the maximum test load will not exceed 80 percent of the minimum ultimate tension capacity of the central steel shaft material.  The Contractor shall select the type of thread bar to be used.  The thread bar shall be sized so the design load does not exceed 70 percent of the guaranteed ultimate tensile strength of the thread bar.  In addition, the thread bar shall be sized so the maximum test load does not exceed 80 percent of the guaranteed ultimate tensile strength of the thread bar.

  - Ground Conditions

The Geotechnical Report, including logs of soil borings as shown on the boring location plan, shall be considered to be representative of the in-situ subsurface conditions likely to be encountered on the project site.  Said Geotechnical Report shall be used as the basis for helical tieback anchor design using generally accepted engineering judgment and methods.

- REFERENCED CODES AND STANDARDS

Standards listed by reference, including revisions by issuing authority, form a part of this specification section to the extent indicated.  Standards listed are identified by issuing authority, authority abbreviation, designation number, title, or other designation established by issuing authority.  Standards subsequently referenced herein are referred to by issuing authority abbreviation and standard designation.  In case of conflict, the particular requirements of this specification shall prevail.  The latest publication as of the issue of this specification shall govern, unless indicated otherwise.

  - American Society for Testing and Materials (ASTM):

    - ASTM A29/A29M Steel Bars, Carbon and Alloy, Hot-Wrought and Cold Finished.

    - ASTM A36/A36M Structural Steel.

    - ASTM A53 Pipe, Steel, Black and Hot-Dipped, Zinc-Coated Welded and Seamless.

    - ASTM A153 Zinc Coating (Hot Dip) on Iron and Steel Hardware.

    - ASTM A252 Welded and Seamless Steel Pipe Piles.

    - ASTM A775 Electrostatic Epoxy Coating

    - ASTM A193/A193M Alloy-Steel and Stainless Steel Bolting Materials for High Temperature Service.

    - ASTM A320/A320M Alloy-Steel Bolting Materials for Low Temperature Service.

    - ASTM A500 Cold-Formed Welded and Seamless Carbon Steel Structural Tubing in Rounds and Shapes.

    - ASTM A572 HSLA Columbium-Vanadium Steels of Structural Quality.

    - ASTM A656 Hot-Rolled Structural Steel, High-Strength Low-Alloy Plate with Improved Formability.

    - ASTM A935 Steel, Sheet and Strip, Heavy Thickness Coils, High-Strength, Low-Alloy, Columbium or Vanadium, or Both, Hot-Rolled.

    - ASTM A936 Steel, Sheet and Strip, Heavy Thickness Coils, High-Strength, Low-Alloy, Hot-Rolled, with Improved Formability.

    - ASTM D1784 Specification for Rigid Poly Vinyl Chloride (PVC) Compounds and Chlorinated Poly Vinyl Chloride (CPVC) Compounds.

    - ASTM D1785 Specification for Poly(Vinyl Chloride) (PVC) Plastic Pipe, Schedules 40, 80, and 120.

    - ASTM D3034 Specification for Type PSM Poly(Vinyl Chloride) (PVC) Sewer Pipe and Fittings.

    - ASTM D3689 Method of Testing Individual Piles Under Static Axial Tensile Load.

  - American Welding Society (AWS):

    - AWS D1.1 Structural Welding Code – Steel.

    - AWS D1.2 Structural Welding Code – Reinforcing Steel.

  - American Society of Civil Engineers (ASCE):

    - ASCE 20-96 Standard Guidelines for the Design and Installation of Pile Foundations.

  - Association of Drilled Shaft Contractors (ADSC) The International Association of Foundation Drilling:

    - GEC No. 4 - Ground Anchors and Anchored Systems

    - ADSC Mechanical Anchor Product Data

  - Post Tensioning Institute (PTI):

    - Recommendations for Prestressed Rock and Soil Anchors, Third Edition, Copyright 1996 By the Post-Tensioning Institute.

  - Society of Automotive Engineers (SAE):

    - SAE J429 Mechanical and Material Requirements for Externally Threaded Fasteners.

- SUBMITTALS

  - Construction Submittals

    - The Contractor shall submit a detailed description of the construction procedures proposed for use to the Owner for review.  This shall include a list of major equipment to be used.

    - The technical submittal shall include the following:

      - Helical tieback anchor number, location and pattern by assigned identification number if not indicated on plans

      - Load required of each anchor

      - Type and size of central steel shaft

      - Helix configuration (number and diameter of helix plates proposed)

      - Minimum free length

      - Tieback anchor threadbar attachment to structure.

    - The Contractor shall submit shop drawings for all helical tieback components, including corrosion protection and threadbar attachment to the Owner for review and approval. This includes helical anchor lead and extension section identification (manufacturer’s catalog numbers).

    - Work shall not begin until all the submittals have been received and approved by the Owner.

  - Installation Records

The Contractor shall provide the Owner copies of screw pile installation records within 24 hours after each installation is completed.  Formal copies shall be submitted on a weekly basis.  These installation records shall include, but are not limited to, the following information.

    - Name of project and Contractor

    - Name of Contractor’s supervisor during installation

    - Date and time of installation

    - Name and model of installation equipment

    - Type of torque indicator used

    - Location of helical tieback pile by assigned identification number

    - Actual central steel shaft type and configuration – including lead section (number and size of helix plates), number and type of extension sections

    - Helical tieback installation duration and observations

    - Free length of installed helical tieback

    - Inclination

    - Installation torque at one-foot intervals for the entire length

    - Comments pertaining to interruptions, obstructions, rate of advancement or other relevant information

- PRODUCTS AND MATERIALS

  - Central Steel Shaft:

The central steel shaft, consisting of lead sections, helical extensions, and plain extensions, shall be Solid Square Shaft, Type <XYZ Here> as manufactured by A.B. Chance or approved equal.

    - Solid Square Shaft Material (1.5”x1.5”):  Shall be hot rolled Round-Cornered-Square (RCS) solid steel bars meeting dimensional and workmanship requirements of ASTM A29.  The bar shall be modified medium carbon steel grade (similar to AISI 1044) with improved strength due to fine grain size.

      - Torsional strength rating = 5,500 ft-lb

      - Minimum yield strength = 70 ksi

    - Solid Square Shaft Material (1.5”x1.5”):  Shall be hot rolled Round-Cornered-Square (RCS) solid steel bars meeting the dimensional and workmanship requirements of ASTM A29.  The bar shall be High Strength Low Alloy (HSLA), low to medium carbon steel grade with improved strength due to fine grain size.

      - Torsional strength rating = 7,000 ft-lb

      - Minimum yield strength = 90 ksi

    - Solid Square Shaft Material (1.75”x1.75”):  Shall be hot rolled Round-Cornered-Square (RCS) solid steel bars meeting the dimensional and workmanship requirements of ASTM A29.  The bar shall be High Strength Low Alloy (HSLA), low to medium carbon steel grade with improved strength due to fine grain size.

      - Torsional strength rating:  = 11,000 ft-lb

      - Minimum yield strength = 90 ksi

    - Solid Square Shaft Material (2.0”x2.0”):  Shall be hot rolled Round-Cornered-Square (RCS) solid steel bars meeting the dimensional and workmanship requirements of ASTM A29.  The bar shall be High Strength Low Alloy (HSLA), low to medium carbon steel grade with improved strength due to fine grain size.

      - Torsional strength rating:  = 16,000 ft-lb

      - Minimum yield strength = 90 ksi

    - Solid Square Shaft Material (2.25”x2.25”):  Shall be hot rolled Round-Cornered-Square (RCS) solid steel bars meeting the dimensional and workmanship requirements of ASTM A29.  The bar shall be High Strength Low Alloy (HSLA), low to medium carbon steel grade with improved strength due to fine grain size.

      - Torsional strength rating:  = 23,000 ft-lb

      - Minimum yield strength = 90 ksi

  - Helix Bearing Plate:

Helix plates material shall be hot rolled carbon steel sheet, strip, or plate formed on matching metal dies to true helical shape and uniform pitch.  Bearing plate material shall conform to the following ASTM specifications.

    - Solid Square Shaft Material (Torque ≤ 5,500 ft-lb): Per ASTM A572, or A1018, or A656 with minimum yield strength of 50 ksi.  Plate thickness is 3/8”.

    - Solid Square Shaft Material (Torque ≥ 5,500 ft-lb): Hot rolled steel sheet, strip or plate per ASTM A656 or A936 with minimum yield strength of 80 ksi. Plate thickness is 3/8” or 1/2”.

  - Bolts:

The size and type of bolts used to connect the central steel shaft sections together shall conform to the following ASTM specifications.

    - Solid Square Shaft Material (Torque ≤ 7,000 ft-lb): 3/4” diameter bolt per ASTM A320 Grade L7.

    - Solid Square Shaft Material (Torque ≥ 7,000 ft-lb): 7/8” – 1-1/4” per ASTM A193 Grade B7

  - Couplings:

Couplings shall be capable of transmitting both the maximum installation torque from the tool string to the helix plates, and the maximum axial load from the end of the anchor to the helical bearing plates.

  - Thread bar:

Helical tieback anchor thread bar shall be either a threaded stud adapter, or a combination of pre-stressing steel thread bar and adapter, both of which are attached to the previously installed central steel shaft via a coupling described in paragraph 4.4.

  - Anchorage:

Stressing anchorages shall be a steel bearing plate with a threaded anchor nut.  Anchorage devices shall be capable of developing 95 percent of the guaranteed ultimate tensile strength of the thread bar.

    - Anchor nuts and other threadable hardware shall be designed to comply with the load carrying requirements of the anchorage.

    - The bearing plate shall be fabricated from steel conforming to ASTM A36, A588, A709 or A572 specifications, or suitable equivalent.

  - Corrosion Protection

    - Galvanization:  All helical tieback for permanent structures shall be hot-dipped galvanized in accordance with ASTM A153 after fabrication.

- EXECUTION

  - Site Conditions

    - Prior to commencing helical tieback installation, the Contractor shall inspect the work of all other trades and verify that all said work is completed to the point where tieback installation may commence without restriction.

    - The Contractor shall verify that all helical tieback anchors may be installed in accordance with all pertinent codes and regulations regarding such items as underground obstructions, right-of-way limitations, utilities, etc.

    - In the event of a discrepancy, the Contractor shall notify the Owner.  The Contractor shall not proceed with screw pile installation in areas of discrepancies until said discrepancies have been resolved.

  - Installation Equipment

    - Shall be rotary type, hydraulic power driven torque motor with clockwise and counter-clockwise rotation capabilities.  The torque motor shall be capable of continuous adjustment to revolutions per minute (RPM’s) during installation.  Percussion drilling equipment shall not be permitted.  The torque motor shall have a minimum torque capacity 15% greater than the torsional strength rating of the central steel shaft to be installed.

    - Equipment shall be capable of applying adequate down pressure (crowd) and torque simultaneously to suit project soil conditions and load requirements.  The equipment shall be capable of continuous position adjustment and swing capacity at maximum installation torque to maintain proper helical tieback alignment during installation.  The application of bending stress to the anchor during installation will not be permitted.

  - Installation Tooling

    - Shall consist of a Kelly Bar Adapter (KBA) and drive tool as appropriate for the central shaft of the helical tieback anchor under maximum installation torque and used in accordance with the manufacturers written installation instructions.

    - Installation tooling should be maintained in good working order and safe to operate at all times.  Flange bolts and nuts should be regularly inspected for proper tightening torque. Bolts, connecting pins, and retainers should be periodically inspected for wear and/or damage and replaced with identical items provided by the manufacturer.  Heed all warning labels.  Worn or damaged tooling should be replaced.

    - A torque indicator shall be used during helical tieback anchor installation.  The torque indicator shall be a device that directly measures torque and that is mounted in-line with the installation tooling.  Devices that infer torque from hydraulic pressure will not be permitted.

      - Shall be capable of providing continuous measurement of applied torque throughout the installation.

      - Shall be capable of torque measurements in increments of 200 ft-lb or less.

      - Shall be re-calibrated, if in the opinion of the Owner and/or Contractor reasonable doubt exists as to the accuracy of the torque measurements.

  - Installation Procedures

    - Central Steel Shaft:

      - The helical tieback anchor installation technique shall be such that it is consistent with the geotechnical, logistical, environmental, and load carrying conditions of the project.

      - The lead section shall be positioned at the location as shown on the working drawings.  The lead section may be started perpendicular to the wall face to assist initial advancement into the soil.  After initial penetration, the required inclination angle shall be established.  The helical tieback anchor sections shall be engaged and advanced into the soil in a smooth, continuous manner at a rate of rotation not to exceed 16 RPM’s.  Extension sections shall be provided to obtain the required minimum free length and load capacity as shown on the working drawings.  Connect sections together using coupling bolt and nut torqued to 40 ft-lb.

      - Sufficient crowd pressure shall be applied to uniformly advance the helical tieback anchor sections approximately 3 inches per revolution.  The rate of rotation and magnitude of crowd pressure shall be adjusted for different soil conditions and depths.

    - Thread Bar:

      - After the termination criteria as detailed in Section 5.5 has been met, the central steel shaft is connected to the anchorage via the threaded stud adapter or via the combination of pre-stressing steel thread bar and adapter.

  - Termination Criteria

    - The torque as measured during the installation shall not exceed the torsional strength rating of the central steel shaft.

    - The minimum installation torque required to achieve the test load and the minimum free-length criteria as shown on the working drawings shall be satisfied prior to terminating the helical tieback anchor installation.

    - If the torsional strength rating of the central steel shaft and/or installation equipment has been reached prior to achieving the minimum free-length required, the Contractor shall have the following options:

      - Remove the existing helical tieback anchor and install a new one with fewer and/or smaller diameter helix plates.  The new helix configuration shall be subject to review and acceptance of the Owner.

      - Remove the existing helical tieback anchor and install a new one with a larger central steel shaft capable of withstanding greater installation torques in order to achieve the minimum free length.

    - If the minimum installation torque required to achieve the test load is not achieved at the minimum free length, and there is no maximum length constraint, the Contractor shall have the following options:

      - Install the helical tieback anchor deeper using additional extension sections or:

      - Remove the existing helical tieback anchor and install a new one with additional and/or larger diameter helix plates.

      - De-rate the load capacity of the helical tieback anchor and install additional ground anchors.  The de-rated capacity and additional pile location shall be subject to the review and acceptance of the Owner.

    - If the helical tieback anchor is refused or deflected by a subsurface obstruction, the installation shall be terminated and the anchor removed.  The obstruction shall be removed, if feasible, and the helical tieback anchor re-installed.  If obstruction can’t be removed, the helical tieback anchor shall be installed at an adjacent location, subject to review and acceptance of the Owner.

    - If the torsional strength rating of the central steel shaft has been reached prior to proper positioning of the last plain extension section relative to the anchorage, the Contractor may remove the last plain extension and replace it with a shorter length extension.  The Contractor shall not reverse (back-out) the helical anchor to facilitate extension removal.

    - The average torque for the last three feet of penetration shall be used as the basis of comparison with the minimum installation torque required to achieve the test load.  The average torque shall be defined as the average of the last three readings recorded at one-foot intervals.

- HELICAL TIEBACK ANCHOR LOAD TESTS

Production test procedures shall be in conformance with the ground anchor test procedures as detailed below, and shall provide the minimum following information:

- Type and accuracy of load equipment

- Type and accuracy of anchor-head deflection equipment

- Calibration report for complete load equipment, including hydraulic jack, pump, pressure gauge, hoses, and fittings.  Calibration shall have been performed within 120 days.

  - Load Test Equipment

    - The hydraulic jack shall be positioned at the beginning of the test such that the unloading and repositioning of the jack during the test is not required.  The jacking system shall be capable of applying the maximum test load within 75% of the pressure rating of the jack and pump system.  The pressure gauge shall be graduated in 100 psi increments or less.  The stroke of the jack shall not be less than the theoretical elastic elongation of the total ground anchor length at the maximum test load.

    - The load test equipment shall be capable of increasing or decreasing the applied load incrementally.  The incremental control shall allow for small adjustments, which may be necessary to maintain the applied load for a sustained, hold period.

    - The reaction system shall be designed so as to minimize its movement under load and to prevent bending of the thread bar.  Test loads are normally higher than the design loads on the structure.  The direction of the applied load shall be collinear with the ground anchor at all times.

    - A dial gauge shall be used to measure anchor movement.  The dial gauge shall have an accuracy of +/-0.001-in. or less and a minimum travel sufficient to prevent resetting the gauge.  The dial gauge shall be positioned so its stem is coaxial with the axis of the anchor.  The stem may rest on a smooth plate located at the end of the anchor.  Said plate shall be positioned perpendicular to the axis of the anchor.  The dial gauge shall be supported by a reference apparatus to provide an independent fixed reference point.  Said reference apparatus shall be independent of the reaction system and shall not be affected by any movement of the reaction system.

    - The load test equipment shall be re-calibrated, if in the opinion of the Owner and/or Contractor reasonable doubt exists as to the accuracy of the load or deflection measurements.

  - Testing Program

      - The anchor testing program shall consist of two parts, namely, performance tests and proof tests.  The testing procedures are as described below in Sections 6.2.4 and 6.2.5, respectively.  Contractor shall take extreme care to not damage the wall or cap during testing, and shall be responsible for all damages caused by construction and testing

    - The Owner shall select the helical tieback anchors to be performance tested.  These anchors should be located in the area of soil borings if possible.  These anchors are to be installed, tested, and approved by the Owner prior to the installation of production anchors.  All anchors, which are performance tested, shall be used as production anchors and incorporated into the retention structure. Upon completion and approval of the performance tests, the installation of production anchors may proceed.

    - Proof tests shall be performed on all production helical tieback anchors which are not performance tested.  Proof tests results are subject to the approval of the Owner.

    - Performance Test Procedures

      - Two (2) percent of the helical tieback anchors or a minimum of three (3) anchors, which ever is greater, shall be performance tested in accordance with the following procedures.

      - The helical anchors which are performance tested may be completely unloaded prior to adjusting to the lock-off load, if so warranted by the construction sequence.  Final loading to the lock-off load does not require further movement readings.

      - Helical tieback anchors shall be performance tested by incrementally loading and unloading the anchor in accordance with the following schedule.  The load shall be raised from one increment to another immediately after recording the anchor movement.  The anchor movement shall be measured and recorded to the nearest 0.001 inches with respect to an independent fixed reference point at the alignment load and at each increment load.  The load shall be monitored with a pressure gauge.  At load increments other than the maximum test load, the load shall be held just long enough to obtain and record the movement reading.

| PERFORMANCE TEST SCHEDULE |  |  |  |  |
| --- | --- | --- | --- | --- |
| CYCLICAL LOAD INCREMENTS (%DL/100) |  |  |  |  |
| AL | AL | AL | AL | AL |
| 0.25DL* | 0.25DL | 0.25DL | 0.25DL | 0.25DL |
|  | 0.50DL* | 0.50DL | 0.50DL | 0.50DL |
|  |  | 0.75DL* | 0.75DL | 0.75DL |
|  |  |  | 1.00DL* | 1.00DL |
|  |  |  |  | 1.25DL* |
|  |  |  |  | Reduce to lock-off load# |

* - See Section 6.2.4.e

# - Except as noted in Section 6.2.4.b

AL = Alignment Load (10%-15% DL);

DL = Design (Working) Load

      - The 1.25DL load increment shall be held for ten (10) minutes. The ten minute observation period shall commence as soon as the 1.25DL load is applied to the anchor.  Movements shall be recorded at 0.5, 1, 2, 3, 4, 5, 6 and 10 minutes.  If the anchor movement between the one (1) minute and ten (10) minute readings exceeds <INSERT CREEP CRITERIA, CAN RANGE FROM .04 TO 0.10 INCHES DEPENDING ON STRUCTURE>, then the 1.25 DL test load shall be maintained for an additional 20 minutes.  Movements shall be recorded at 15, 20, 25, and 30 minutes.  If the acceptance criteria given in Section 6.3.1 are not satisfied, then the anchor test shall be continued for an additional 30 minutes.  Movements shall be recorded at 45 and 60 minutes.  If the acceptance criteria are not satisfied after this extended observation period, then the contractor shall exercise one of the options as referenced in Section 6.3.2.

      - The Contractor shall plot the helical anchor movement versus load for each load increment marked with an asterisk (*) in the performance test schedule and plot the residual movement at each alignment load versus the highest previously applied load.

      - Throughout the 1.25DL observation period, the load shall be held constant by adjusting the hydraulic pressure.  Care must be taken so as not to exceed the 1.25DL test load.

    - Proof Test Procedures

      - All anchors which are not performance tested shall be proof tested.

      - Anchors which are proof tested may be completely unloaded prior to adjusting to the lock-off load, if so warranted by the construction sequence.  Final loading to the lock-off load does not require further movement readings.

      - The proof test shall be performed by incrementally loading the helical anchor in accordance with the following schedule.  The load shall be raised from one increment to another after an observation period.  The anchor movement shall be measured and recorded to the nearest 0.001 inches with respect to an independent fixed reference point at the alignment load and at each increment load.  The load shall be monitored with a pressure gauge.  At load increments other than the maximum test load, the load shall be held for a period not to exceed two (2) minutes.  The two minute observation period shall begin when the pump begins to load the anchor to the next load increment.  Movement readings shall be taken at the end of the two minute observation period.

| PROOF TEST SCHEDULE |  |
| --- | --- |
| LOAD TEST SCHEDULE (%DL/100) | OBSERVATION PERIOD (MIN.) |
| AL | 0.0 |
| 0.25DL | 2.0 |
| 0.50DL | 2.0 |
| 0.75DL | 2.0 |
| 1.00DL | 2.0 |
| 1.25DL | 5.0 |
| Reduce to lock-off load = .75DL# |  |

# - except as noted in Section 6.2.5.b

AL = Alignment Load (10%-15% DL)

DL = Design (Working) Load

      - The 1.25DL test load shall be maintained for five (5) minutes.  This five minute observation period shall commence as soon as the 1.25DL is applied to the anchor.  Movement readings shall be recorded at 0.5, 1, 2, 3, 4, and 5 minutes.  If the movement between the 0.5 and 5 minute reading exceeds <INSERT CREEP CRITERIA, CAN RANGE FROM .04 TO 0.10 INCHES DEPENDING ON STRUCTURE>, then the 1.25DL test load shall be maintained for an additional five (5) minutes.  Movement readings shall be recorded at 6 and 10 minutes.  If the acceptance criteria given in Section 6.3.1 is not satisfied, then the anchor test shall be continued for an additional twenty (20) minutes.  Movement readings shall be recorded at 15, 20, 25, and 30 minutes.  If the acceptance criteria is not satisfied after this extended observation period, then the contractor shall exercise one of the options as referenced in Section 6.3.2.

      - Throughout the 1.25DL observation period, the load shall be held constant by adjusting the hydraulic pressure.  Care must be taken so as not to exceed the 1.25DL test load.

  - Acceptance Criteria

    - The net movement for the performance and proof tests shall not exceed <INSERT CREEP CRITERIA, CAN RANGE FROM .04 TO 0.10 INCHES DEPENDING ON STRUCTURE> during the final log cycle of time (examples, 1-min. to 10-min. for performance tests; 0.5-min. to 5-min. for proof tests).

    - If the above criteria are exceeded, then the test shall be continued for an extended period of time as defined in Section 6.2.4.d for the performance test and in Section 6.2.5.d for the proof test.  If the final log cycle of time movement at the end of the extended observation period exceeds <INSERT CREEP CRITERIA, CAN RANGE FROM .04 TO 0.10 INCHES DEPENDING ON STRUCTURE> then the contractor shall have the following options:

      - Extend the observation period for an additional 60 minutes for the performance test with movement readings taken at 80, 90, 100, and 120 minutes.  Extend the observation period for an additional 30 minutes if the proof test is involved with movement readings taken at 45 and 60 minutes.  The net movement shall not exceed <INSERT CREEP CRITERIA, CAN RANGE FROM .04 TO 0.10 INCHES DEPENDING ON STRUCTURE> inches during the final log cycle of time.

      - Install the helical anchor deeper so as to increase its average installation torque, provided that the maximum torque capacity of the anchor will not be exceeded.  This anchor shall be proof tested.

      - Remove the helical anchor and reinstall an anchor with larger diameter and/or additional helices.  This anchor shall be proof tested.

      - Reduce the design load of the helical anchor.  This anchor shall be performance tested at the reduced design load.  This option will require additional anchors be installed adjacent to this reduced design load anchor.  The number of additional anchors to be installed is a function of the reduced design load.  Adjacent anchor(s) shall be installed at least four (4'-0) feet from the reduced design load anchor.  Design loads on adjacent anchor(s) shall be adjusted accordingly based on the revised horizontal spacing.

END OF SPECIFICATION

APPENDIX

TABLE-1

A. B. CHANCE COMPANY

MECHANICAL STRENGTH RATINGS – HELICAL TIEBACK ANCHORS

| RATING TYPE | CENTRAL STEEL SHAFT FAMILY |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | SS5 1-1/2” RCS | SS150 1-1/2” RCS | SS175 1-3/4” RCS | SS200 2” RCS | SS225 2-1/4” RCS |
| Torsional Strength Rating (ft-lb) | 5,500 | 7,000 | 11,000 | 16,000 | 23,000 |
| Ultimate Capacity Per Helix (kip) (Tension/Compression) | *40 | *40 | *50 | 60 | 60 |
| Minimum Ultimate Tension Capacity (kip) (Connection Limit) | 70 | 70 | 100 | 150 | 200 |
| Dywidag Thread Bar Diameter2 (inch) | 1 | 1 | 1 | 1 & 1-1/4 | 1-1/4 & 1-3/8 |

* For 14” Dia. Helix Plates, Reduce the Ultimate Capacity by 20%

- Actual installed capacities are dependent on existing soil conditions.

- Thread bar tendons shall have a minimum guaranteed ultimate tensile strength of 150 ksi.  Tendons shall meet the requirements of ASTM A722-Grade 150.  Steel anchorage nuts and bearing plates shall be compatible with the specified tendons.